## Slide 1: Patient Monitoring System
Team Leader: Robert Tosic
Client: Christopher Burger
Requirements Engineer: Ryan Randive
Developers: Andy Llactahuamani, Paul Martins
Tester: Zain Quraishi

## Slide 2: Requirements Elicitation
As the Client, what did you require this program to do?
As the Requirements Engineer, how did you organize/categorize those requirements into the Requirements Document?

## Slide 3: Software Architecture
As the Developers, how did you envision the architectural solution?
How do the requirements relate to your implementation?

## Slide 6: DEMO
Patient Monitoring System

## Slide 7: Testing
Static Testing (done during design phase)
Software Quality Assurance: Verification and Validation
Requirements sourcing/traceability
Does the software meet the needs of the client/users?

## Slide 8: Test cases
Dynamic Testing (done during implementation phase)
Example Test Cases:
UC #1-4: Display Vital Sign Data, making sure by inspection that the data placed on the graphs are realistic and reasonable values checking for any sporadic data points/anomalies.
UC #5: Access Patient's Medical History: Tested by using the ‘open file’ option in the menu to see if a patient file can be accessed and displayed through the program.
UC #6: User/Client Verification, Checking the robustness of the login system by entering numerous iterations and combinations of usernames and passwords to expose any errors.
UC #8: Display Agenda, Iteratively adding multiple events to inspect overflow handling, and removing events to inspect robustness of implementation.

## Slide 9: Test Cases Cont’d
UC #9: Log Patient's Medical Data, evaluating the validity of the data in the log file by inspecting the corresponding values for each Vital Sign and also to verify that the patient information and events have been properly recorded and logged.
UC #10: Display Warnings/Alerts, Tested the structure and robustness of the warning system by simulating multiple cases, and changing the threshold values to see how the application/graphs responds.
UC #11: System Start-up and Re-Initialization Sequence, Check performance of program and data repos by evaluating response time to inputs (start-up, changing values, patient information), and by inspecting how the program handles a re-initialization sequence with the previous patients data.
UC #12: Modifying Patient Warning/Alarm Thresholds, by iteration; modifying the threshold values and observing if the program adequately adapts the new thresholds and displays warnings if the new thresholds have been exceeded.

## Slide 10: FIN